## Slide 1
A direct comparison of Geodesic Sensor Net (128-channel) and conventional (30-channel) ERPs in tonal and phonetic oddball tasks
Jürgen Kayser, Craig E. Tenke, Nilabja Bhattacharya, Barbara K. Stuart, Jeffrey Hudson, Gerard E. Bruder
New York State Psychiatric Institute, Department of Biopsychology
http://nypisys.cpmc.columbia.edu/psychophysiology/index.html
Society for Psychophysiological Research (SPR), 40th annual meeting, San Diego, CA, October 18-22, 2000
Symposium 14: Dense electrode array ERPs: Methodological developments, challenges and benefits

## Slide 2
These task-specific ERP asymmetries interact with response hand in an unbalanced fashion
Background
Tonal
Phonetic
Tonal - Phonetic
N2/P3 Amplitude
pitch discrimination (right frontotemporal)
phoneme discrimination (left parietotemporal)
enhanced N2/P3 amplitude over the right lateral-temporal region for complex tones
enhanced N2/P3 amplitude over the left parietal region for syllables
ERPs of right-handed adults during auditory oddball tasks are characterized by
stimulus-dependent N2/P3 asymmetries
Kayser, Tenke, & Bruder (1998). Psychophysiology, 35(5), 576-590.
Tenke, Kayser, Fong, Leite, Towey, & Bruder (1998). Brain Topography, 10(3), 201-210.

## Slide 3
Complex Tones
square waves
[444 Hz, 485 Hz]
of major notes
Syllables
consonant-vowels
[/da/, /ka/] matched
for discriminability
Oddball Tasks: Tonal and Phonetic Stimuli
...
B
20% targets
80% nontargets
binaural
...
/da/
/ka/
binaural
A
B
B
B
Left Press
or
Right Press
or
Silent Count
Left Press
or
Right Press
or
Silent Count
A
/da/
/da/
/da/
/ka/
960 trials total
12 blocks (80 trials)
32 targets/condition
128 nontargets/condtion

## Slide 4
ElectroCap
(30-channel)
Geodesic Sensor Net
(128-channel)
Design
Minimum 14 trials/condition
ElectroCap 24
GSN 17
Gender
Age (21 – 41 yrs)
Handedness
(Oldfield, 1971)
Participants
27.8 ±6.5
10 female
14 male
79.7 ±22.6
N = 24
26.5 ±6.3
6 female
11 male
77.5 ±24.9
N = 17

## Slide 5
Data Recording and Processing
Geodesic Sensor Net
ElectroCap
Reference
nose tip
vertex
#17 moved to nose tip
Bipolar EOG
EOG leads
from facial EEG leads
Storage format
NeuroScan
NeuroScan
EGI
Initial artifacting
clipped epoch/trial
clipped epoch/trial/site
Interactive blink correction
(linear regression)
Off-line filtering
20 Hz / 24 dB low pass
Re-reference
nose tip
Artifacting
±100 µV
flag artifacts (100 µV threshold)
interactive editing of EEG epoch/trial/site (reject or replace after visual analysis of complete EEG montage)
ERP averaging
100 µV step response
External calibration
400 µV 20 Hz sine wave

## Slide 6
Behavioral Data: Correct button presses
Task
p = .0002
Task
p = .0002

## Slide 7
ERP Waveforms: Complex Tones
ElectroCap
------- Nontargets
------- Targets

## Slide 8
ElectroCap
------- Nontargets
------- Targets
ERP Waveforms: CV Syllables

## Slide 9
ERP Waveforms: Complex Tones
Geodesic Sensor Net
------- Nontargets
------- Targets

## Slide 10
ERP Waveforms: CV Syllables
------- Nontargets
------- Targets
Geodesic Sensor Net

## Slide 11
ERP Waveforms: Vertex
CV Syllables
Complex Tones
Targets
Nontargets
------- Geodesic Sensor Net
------- ElectroCap

## Slide 12
ERP Topographies: Surface Potentials (Targets)
Time interval: 0 - 700 ms
ElectroCap
Tonal
Phonetic
Geodesic Sensor Net
Tonal
Phonetic

## Slide 13
ElectroCap (30-channel)
S890
P380
P300
N200
N110
Temporal PCA: Factor Loadings
covariance matrix
unscaled Varimax rotation
GSN (30-channel)
GSN (128-channel)
P380 36.7%
S890 26.1%
P300 15.2%
N200 6.1%
N110 3.0%
Explained Variance
87.1%
_____
S890
P380
P300
N200
N110
ElectroCap (30-channel)
GSN (30-channel)

## Slide 14
N110
ERP Topographies: N110 (Targets)
ElectroCap
Tonal
Phonetic
Geodesic Sensor Net
Tonal
Phonetic

## Slide 15
N200
ERP Topographies: N200 (Targets)
ElectroCap
Geodesic Sensor Net
Tonal
Phonetic
Tonal
Phonetic
Syst x Task x Hemi
p = .04
ECap Task x Hemi
p = .0001
GSN Task x Hemi
p = .03

## Slide 16
P300
ERP Topographies: P300 (Targets)
ElectroCap
Geodesic Sensor Net
Tonal
Phonetic
Tonal
Phonetic
System
p = .006
Syst x Site
p = .03

## Slide 17
ERP Topographies: P380 (Targets)
Tonal
Phonetic
Tonal
Phonetic
ElectroCap
Geodesic Sensor Net
P380
Syst x Site
p = .02
Pz Syst x Task
p = .0001

## Slide 18
(P380+P300) – (N200)
ERP Topographies: N2/P3 Amplitude (Targets)
Tonal
Phonetic
Tonal
Phonetic
ElectroCap
Geodesic Sensor Net
System
p = .03
Syst x Task
p = .03
Syst x Task x Site
p = .007
ECap Task x Hemi
p = .002
GSN Task x Hemi
p = .004
ECap Task x Hemi x Site
p = .0008
GSN Task x Hemi x Site
p = .0009

## Slide 19
Left Press
Right Press
Geodesic Sensor Net
Silent Count
Tonal
Phonetic
ERP Topographies: N2/P3 Amplitude (Targets)
(P380+P300) – (N200)

## Slide 20
ERP Noise Estimates: Vertex referenced to nose tip
System
p = .0003
System
p = .0006
Condition
Syst x Cond
p = .02
p < .0001
System
p = .02
Condition
p < .0001

## Slide 21
Conclusions
ERPs were remarkably similar across the two systems for corresponding recording sites using the same reference
improved spatial resolution of the DEA montage increases confidence in the topographical findings
advantages come at a significant cost
requirements for maintaining conventional standards with DEA recordings
component structure
peak latencies
topographies
labor/time intensive data processing (an order of magnitude!)
loss of subjects and/or data
decrease in effect size
reduced S/N ratio and late ERP amplitudes (e.g., P3)
large number of trials and/or subjects
need for new tools for data processing (including EOG correction, artifacting, replacing missing channels)
sufficient manpower

## Slide 22
ERP Topographies: Surface Potentials (Targets)
Time interval: 0 - 700 ms
Left Press
Right Press
Geodesic Sensor Net
Silent Count
Tonal
Phonetic

## Slide 23
ERP Topographies: Local Hjorth (Targets)
Time interval: 0 - 695 ms
Left Press
Right Press
Geodesic Sensor Net
Silent Count
Tonal
Phonetic
sink
source